Annex 13

Spare Parts

REVISION HISTORY

| Revision Level | Change Summary | Elaborated by | Approved by | Date |
| --- | --- | --- | --- | --- |

Talagante (CHILE)

| Description | Units | Units | Comments |
| --- | --- | --- | --- |
| Photovoltaic: Modules | Un. | 1 pallet |  |
| Photovoltaic: Solar cable | m. | 100 |  |
| Photovoltaic: connectors (male/female) | Un. | 100 |  |
| Framework type 1: Complete tracker set | Un. | 1 |  |
| Framework type 2: Complete tracker set | Un. | 1 |  |
| AC Combiner boxes: Complete AC Box | Un. | 2 |  |
| String Inverter: Complete | Un. | 2 |  |
| MV equipment: Plug-in type connector | Set | 1 |  |
| Perimeter security: Thermal CCTV camera | Un. | 1 |  |
| Monitoring system: STP 2 pairs Cable | m. | 180 |  |
| Monitoring system: FTP Cat5 Cable | m. | 40 |  |
| Monitoring system: Ambient Temperature | Ud. | 1 |  |
| Monitoring system: Module Temperature | Ud. | 1 |  |

Special tools:

- Insulated gloves

- PPE

- Insulated Stool

- Fuse holder